## Slide 1: Power Supply Calibration Automation Project
Nimesh Kavinda Fernandopulle

## Slide 2: Content
Introduction to the Project.
Problem Statement & Objectives of the Project.
Methodology for Implementation of Project.
Project Schedule Plan.
What I have done so far.
Challenges faced.
Current progress.
Next step …..

## Slide 3: Exist Software for Calibration
VARIOSYSTEMS' power supply calibration process involves a Windows app where operators manually connect probes for voltage and current measurements, making it time-consuming. To boost efficiency, they seek to automate probe connections, reducing manual oversight.
Operators must stay on-site to change probes, leading to time wastage.

## Slide 4: Objectives of the Project.
This Project aims to automate power supply calibration, minimizing manual tasks and optimizing operator resources. The project involves developing a new Windows application, generating comprehensive reports, and enhancing documentation capabilities for quality assurance. Ultimately, it seeks to create a more efficient and streamlined calibration process.

## Slide 5: Methodology
Switching Unit
Controlling Signals
Readings
Measuring Probes
Output Probes
Controlling
Signals
Power Supply
Multimeter
Windows Program
Signals

## Slide 6: Main Features
Intermediate Switching Unit
Windows Application
Report Generation

## Slide 7: Project Schedule Plan

## Slide 8: Challenges Faced.
Windows Application Development.
Can not run .exe files.

## Slide 9: What I have done so far.
Planning the block diagram of the switching unit.
Choose a microcontroller.
Drawing the schematic of prototype.
Routing the layouts of prototype.
Developed Controlling user interface.
Choosing a programming language to develop GUI.
That GUI contains , Sign in & Sign Out options , Device connection page , calibration progress page and excel report generation containing graphs.

## Slide 10: Choose a microcontroller. STM32 F401RC

## Slide 11: Drawing the schematic of prototype
Relay Matrix.
Controlling Unit.
Power supply.

## Slide 12: Power supply & Controller

## Slide 13
Relay Matrix

## Slide 14: PCB Layouts
Relay Matrix.
Controlling Unit.
Power supply.

## Slide 15: Power supply & Controller

## Slide 16: Relay Matrix

## Slide 17: Software Development
Sign in & Sign up options
Device connection page ,
Calibration progress page
Excel report generation containing graphs.

## Slide 18: Sign in & Sign up options

## Slide 19: Device connection page

## Slide 20: Calibration progress page

## Slide 21: Excel report generation containing graphs.

## Slide 22
More than 1000 lines of backend code

## Slide 23: Current progress.
Decided to Develop existing software To fulfill new project requirements
Since , I’m now familiar with Windows application codes , I was able to update the existing software’s GUI to New version within 2 days.

## Slide 24
Exist Calibration Software

## Slide 28: Next Step…..
20A measuring feature
Wire Resistance Checking.
RFID reader

## Slide 29
Thank You !